- Two-way flows of electricity and informationtp create automated and distributed advanced energy delivery.

- Existing Grid vs Smart Grid

Existing Grid	Smart Grid
Electromechanica	Digital
One-way comm	Two-Way comm
Centralized Generation	Distributed Generation
Few Sensors	Many Sensors
Manual Monitoring	Automated
Manual restorting	Self healing
Failures and blackouts	Adaptive and islanding
Limited Control	Pervasive Control
Few Customer	Many customer choices

- Smart grid regarded as an electric system that uses information, two-way, cyber-secure communication technologies, and computational intelligence in an integrated fashion.

-SG has differnt perspectives from many researchers

- Smart infrastructure System
1) advanced information metering, monitoring and managment.
2) advanced electricity generation, delivery and consumption.
3) advanced communication technologies.

- Smart managment system is a subsystem in SG which provides control services

- Smart protection system provides advanced grid reliability analysis, failure protection and security privacy.

- Benefits of SG:

1) Improving power reliability and quality;
2) Optimizing facility utilization and averting construction of back-up (peak load) power plants;
3) Enhancing capacity and efficiency of existing electric power networks;
4) Improving resilience to disruption;
5) Enabling predictive maintenance and self-healing responses to system disturbances;
6) Facilitating expanded deployment of renewable energy sources;
7) Accommodating distributed power sources;
8) Automating maintenance and operation;
9) Reducing greenhouse gas emissions by enabling electric vehicles and new power sources;
10) Reducing oil consumption by reducing the need for inefficient generation during peak usage periods;
11) Presenting opportunities to improve grid security;
12) Enabling transition to plug-in electric vehicles and new energy storage options;
13) Increasing consumer choice;
14) Enabling new products, services, and markets.

- two-way flow implies that electric energy delivery is not unidirectional ( moving from one transmission grid to another)

- Smart energy subsystem 3 types.

1) The smart energy subsytem is responsible for advanced electricity generation, delivery and consumption
2) Smart information subsystem is responsible for advanced information metering.
3) Smart communication subsystem is responsible for comm connectivity and information transmission among systems, devices, and applications in context of SG.

Problems:
Power generation paradigm of SG is Distributed Generation (DG), localized grouping of electricity generators powering in an isolated way. Example tech of this is, wind power, fuel cells, solar.

1) Deploying DG involves large scale developments for generation of renewable resources, and renewable resources is subject to wide fluctuations.

- Smart Grid Paradigms
1) Microgrid: a localized grouping of electricity generations, energy storages and loads. Self managing distributed small network, connected to macro and pulls from it when needed.
2) Grid2Vehicle and Vehicle2Grid: Electric vehicle is a vehicle that uses one or more electric motors. Problems of chargin Electric cars has imapact on grid system and requires more performance. Vehicle2Grid utilize parked cars in parkinglots to charge them.

- Challenges in Large-scale deployment: distributed approaches to adressing large-scale distributed control approaches to addressing a complex power system using a top down approach to scaling. The other bottom up.

- Wireless Sensor networks, low cost, provide feasible and cost-effective sensing and communication platform for system monitoring.

- Sensor network requirments.
1) QOS
2) Resource constraints: energy efficency etc.
3) Remote Maintenance: Sensors are remotely accessable.
4) High Security requirements: Prevent cyber attacks.
5) Harsh environment sustainability.

Problems with data storage from metering measurement and management is a problem highlighted.

Use of cloud computing to store information of renewable generations at the user level to be able to sell excess energy to other users nearby.

- Grid systems have many types of networks
1) Enterprise bus that connects control center applications, markets and generators
2) Field area networksand connected devices, such as intelligent electronic devices that control circuit breakers and transformers.
3) Premises networks that include customer networks as well as utility networks within the customer domain.

Wireless technologies

- Low installation cost
- Suitable for remote end apps

Wireless Mesh Network

WMN is a communication made up of radio nodes organized in a mesh topology.

Benefits
1) increased communicatio reliability, and automatic network conectivity.
2) Large coverage and high data rate

- IEEE recommends using wireless networks like 3G cellular communications as a backhaul compared to WMN because cellular proved that the delay and cost of transmitting data can be reduced in the future.

Cognitive Radio
- Proposed use for SG in rural areaswhere demand to accomodate those areas in the future and span across geographical locations.
- Urban areas can use backup radio in emergent situations.
- Communication between sensors good spectrum for wirless sensor networks at the SG utility, reliable low latency routing support for large scale SG networks

Wireless 802.15.4

- Zigbee, wirelessHart, and ISA100.11a,
- Zigbee radio wireless low data rate, big battery life
- Zigbee good for metering support
- WirelessHART utilizes a time synchronized, self-organizing and self-healing mesh architechture. 2.4GHz using IEEE 802.15.4
- WirelessHART good for wireless sensor control in Industrial related applications.

Satellite

- Good for global coverage
- Situational for remote substations that lack infastructure.
- Bad for high delay
- Dependant on weather.

Microwave
- Used for point-to-point communications,
- High bandwidth, shitty if obstruction is there.

Remarks of wireless
- Different wireless applications are applicable depending on the situation.
- Proposed approach to wireless selection is dependant on the utilization of the link.
- Secondly the requirements of the applications in particular SG is the traffic requirements
- Thirdly the coverage area, peformance, reliability, delay and throughput.

-TCP/IPV6 future as sensors become all addressed.

Problem Statements of SG
1) Interoperability of communicaton technologies
Many differnt communication protocols to be used with SG, each will need theri own protocols and algorithms to deal with the interoperability. Example, performance of pure TCP may be very bad for wireless networks since it cannot differentiate packets loos due to wireless fading from that due to a real congestion network in order to deal with it we need to use QOS.

2) Dynamics of the communication subsystem
The communication subsystem underlying SG may be dynamic with topology changes being unpredictable. Example would be the operation of a electrical vehicle connecting and disconnecting from a grid and the motion of the vehicle may result in change of communication network topology.
Very unpredictable.

3) smoothly updating existing protocols
The current power grid has used several protocols to realize simple data communications. Example the currently used metering and SCADA protocols are based on simple request/response schemes. The problem is how to update existing protocols in relation to the integration of a smart grid infastructure.

-SG provies a solution for the demand in consumer consumption of energy in response to supply conditions. Good response for emergent situations, self managing system.

Focus of SG
1) Energy Efficency
2) Utility and cost optimization, price stabalization
3) Emission control